## Start Here
H38 ROOFING CALC
By Highway 38 Solutions - The Roofing sheet from the H38 Contractor Calc, in a book of its own
What this is | The Roofing sheet from the H38 Contractor Calc workbook, as a book you keep - roof area and squares for a plain gable, shingle bundles, and a quick reference for pitch multipliers & angles.
Start in this order | 1) Roofing - from the footprint and the pitch to the squares on the roof and the bundles on the order. One sheet - the tools run top to bottom.
Yellow cells | Yellow = you type here. White / grey cells are formulas - don't type over them, or that calculation will stop working. Percent cells: type them as percents (20%), not decimals.
Example data | Every calculator opens with the same example numbers as the web app, so the two match side by side. Replace them with your shop's real numbers before quoting a customer.
Estimates only | Results are estimates for planning and quoting conversations - verify load calculations, code requirements, and tax figures against the governing standard (Manual J, the NEC, IRS publications) and your own books before you build, bid, or file on them.
Sheets: Roofing

## Roofing
ROOFING - Squares, bundles & the pitch multiplier
From the footprint and the pitch to the squares on the roof and the bundles on the order - plain gable math.
1 - ROOF AREA & SQUARES - PLAIN GABLE
Building length (ft) | 40
Building width (ft) | 28
Pitch (rise, in per 12 in of run) | 6
Eave overhang (in, horizontal) | 12
Rake overhang (in, each end) | 12
Pitch multiplier
Roof length incl. rake overhang (ft)
Slope length, one side (ft)
ROOF AREA, BOTH SLOPES (sq ft)
SQUARES (100 sq ft each)
One square is 100 square feet of roof. This figures a plain gable end to end - hips, valleys, dormers and crickets add area the footprint math cannot see; measure those slopes directly and add them in.
2 - SHINGLE BUNDLES
Squares to cover |  | Carried down from the roof above - run section 1 with your own numbers if you measured the roof instead
Waste & cuts | 10% | Estimate - 10% on a plain gable, 15% on a cut-up roof
Bundles per square | 3 | Typical for standard 3-tab and most architectural shingles - the bundle wrapper on yours is the truth
Squares with waste
BUNDLES TO BUY
Ridge cap, starter strip, underlayment and ice-and-water shield are separate lines on the order - this count is field shingles only.
3 - QUICK REFERENCE - PITCH MULTIPLIERS & ANGLES
Multiply any horizontal run by the factor to get the slope length - rafters, roofing and gutters all run on the same table. Exact geometry: factor = SQRT(144 + rise^2) / 12.
Rise (per 12 in) | Slope factor | Slope angle (deg) | Typical use
1
2 |  |  | Very low slope
3
4 |  |  | Porch / shed roof
5
6 |  |  | Common house roof
7
8
9 |  |  | Steep roof
10
11
12 |  |  | 45 degrees
Whether shingles are even allowed at a low pitch, and what underlayment they need there, comes from the shingle maker's instructions and your code - not from this sheet.